F3TD 11	Laboratory Safety	Guidance

Outcome 2, PC (a)

The laboratory chosen to assess Outcome 2 PC (a) must present candidates with the opportunity to identify a minimum of four of the features listed below:

· Fire escape/emergency exit
· Fire extinguisher
· Fire blanket
· First aid box
· Eye wash station
· Signage showing numbers to call in case of emergency
· Electrical isolation switch
· Gas isolation switch

Candidates must achieve 60% of the actual marks available to pass.  For example, if all eight of the features shown above are present, then candidates must score a minimum of five from eight to be judged as satisfactory.

Candidates should be questioned on an individual basis to assess relevant knowledge and the checklist should be retained as evidence of performance.

Candidates should be presented with multiple opportunities to develop the necessary knowledge and skills to achieve this PC before being assessed.

Each centre should generate a checklist that is appropriate to the laboratory being used to generate candidate evidence.  


